## Sheet1
爱义达（厦门）医护科技有限公司 Ayida (Xiamen) P&C Technology Co., Ltd.
产品审核批准放行单 Product Review Approval Release Form
产品名称 Product Name
产品批号 Product Batch Number | 规格/型号 Specification/Model | 数量 Quantity
□ 产品已取得相应销售医疗器械注册证书；销往国内的，应与《医疗器械生产企业许可证》生产范围相一致； The product has obtained the corresponding sales medical device registration certificate; for products sold domestically, the scope must be consistent with the "Medical Device Manufacturing Enterprise License";
□ 质量控制文件齐全； Quality control documents are complete;
□ 按有关规定完成了各类验证和确认； Completed all kinds of verification and confirmation in accordance with relevant regulations;
□ 根据该批产品的生产批号，按《产品审核批准放行单》查找到相对应的原材料检验报告，核对该批产品来料检验记录与检验标准的符合性、正确性、完整性。供货单位、数量、来料验证号、规格型号等应与实物一致，记录表单填写应正确、完整，并有记录人签名； According to the production batch number of the batch of products, located the corresponding raw material inspection reports according to the "Product Review and Release Form", and verified the conformity, correctness, and completeness of the incoming material inspection records of the batch of products with the inspection standards. Supplier, quantity, incoming material verification number, specifications and models, etc., should be consistent with the physical items; record forms should be filled out correctly and completely, and signed by the recorder;
□ 核对过程检验记录与检验标准的符合性、正确性、完整性，检验项目、抽检数与检验标准应一致，应按标准判定检验结果； Verified the conformity, correctness, and completeness of in-process inspection records with the inspection standards; inspection items and sample sizes should be consistent with the inspection standards, and inspection results should be judged according to the standards;
□ 核对出厂检验项目。抽检数与检验标准的符合性，正确性、完整性、记录表单填写应正确、完整，并有记录人签名。 Verified the factory inspection items. The conformity, correctness, and completeness of sample sizes with the inspection standards; record forms should be filled out correctly and completely, and signed by the recorder.
□ 不合格的相关记录应根据《不合格控制程序》进行填写，包括所有相关的返工记录和其可接受的重新检验的记录，所有不合格品进行报废。 Records of nonconformities should be completed in accordance with the "Nonconforming Control Procedure," including all related rework records and their acceptable reinspection records; all nonconforming items shall be scrapped.
□ 产品说明书版本及内容符合《标记控制规程》、受控说明书规定的要求； The version and content of the product instructions comply with the requirements of the "Label Control Procedure" and the controlled instructions.
□ 标签、合格证的版本及内容符合《标记控制规程》及标签、合格证受控图纸规定的要求； The versions and contents of labels and certificates conform to the requirements of the "Marking Control Procedures" and the controlled drawings for labels and certificates;
产品出厂放行 Product release for shipment 结论： Conclusion: □ 本批产品符合放行要求可放行 This batch of products meets release requirements and may be released □ 不符合放行要求 Does not meet release requirements 产品放行批准人/日期 Product release approver/date:
表单编号 Form No.: AYD/QR/QC-017-01 A0