环氧乙烷残留量检测报告

Ethylene Oxide Residue Test Report

| 产品名称 Product Name |  | 型号规格 Model and specifications |  |
| --- | --- | --- | --- |
| 生产批号 Production Batch Number |  | 灭菌/消毒批号 Sterilization/Disinfection Batch Number |  |
| 检测日期 Test Date |  | 报告日期 Report Date |  |
| 检测依据 Testing Basis AYD/QC-029 《环氧乙烷残留量检验规程》 AYD/QC-029 "Procedure for Testing Ethylene Oxide Residue" |  |  |  |
| 技术要求 Technical Requirements ⬜《一次性使用医用口罩技术要求》 "Technical Requirements for Single-Use Medical Masks" ⬜《医用外科口罩产品技术要求》 "Product Technical Requirements for Medical Surgical Masks" ⬜《医用防护口罩技术要求》 "Technical Requirements for Medical Protective Masks" ⬜《医用一次性防护服技术要求》 "Technical Requirements for Medical Disposable Protective Clothing" ⬜《一次性使用压舌板》 "Disposable Tongue Depressor" |  |  |  |
| 数据记录 Data records 1）用分析/电子天平（设备编号： ）称取的样品重量： g。 Sample weight measured with an analytical/electronic balance (Equipment No.: ): g. 2）记录气相色谱仪（设备编号： ）软件CG-5显示的波峰值： ；根据标准曲线计算出样品相应的浓度ρ= ug/ml。 Record the peak value displayed by the gas chromatograph (equipment number: ) in software CG-5: ; calculate the corresponding concentration of the sample ρ = μg/ml based on the standard curve. |  |  |  |
| 结果计算 Result calculation 环氧乙烷相对含量： CEO=5ρ/m= = μg/g Relative content of ethylene oxide: C EO = 5ρ/m = = μg/g 环氧乙烷相对含量： CEO=5ρ/m，式中： Relative content of ethylene oxide: C EO = 5ρ/m, where: CEO--产品中环氧乙烷相对含量，单位为微克每克（μg/g)； C EO -- relative content of ethylene oxide in the product, unit: micrograms per gram (μg/g); 5--量取的浸提液体积，单位为毫升（mL)； 5 -- volume of the extracted solution taken, unit: milliliters (mL); ρ--标准曲线上找出的供试液相应的浓度，单位为微克每毫升（μg/mL）； ρ -- concentration of the test solution read from the standard curve, unit: micrograms per milliliter (μg/mL); m--称样量，单位为克（g）。 m -- sample mass, unit: grams (g). |  |  |  |
| 结果判定 Result Determination |  |  |  |

复核Reviewed by:

检测人员Testing personnel:

表单修改记录

Form revision record

| 序号 Serial number | 版本 Version | 修订日期 Revision Date | 修订简述 Summary of Revisions | 修订人 Reviser | 备注 Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | A1 | 2024.9.30 | 1、检测依据：GB/T 14233.1-2008《医用输液、输血、注射器具检验方法》中环氧乙烷残留量测定----气相色谱法改为AYD-QC-029 《环氧乙烷残留量检验规程》 1. Testing basis: GB/T 14233.1-2008 "Methods for inspection of medical infusion, blood transfusion and injection apparatus" determination of ethylene oxide residue—gas chromatography changed to AYD-QC-029 "Procedure for testing ethylene oxide residue" 2、技术要求：⬜《一次性使用医用口罩技术要求》⬜《医用外科口罩产品技术要求》⬜《医用防护口罩技术要求》 ⬜《医用一次性防护服技术要求》改为⬜《一次性使用医用口罩技术要求》⬜《医用外科口罩产品技术要求》⬜《医用防护口罩技术要求》 ⬜《医用一次性防护服技术要求》⬜《一次性使用压舌板》 ⬜ 2. Technical requirements: ⬜ "Technical requirements for single-use medical masks" ⬜ "Product technical requirements for medical surgical masks" ⬜ "Technical requirements for medical protective masks" ⬜ "Technical requirements for single-use medical protective clothing" changed to ⬜ "Technical requirements for single-use medical masks" ⬜ "Product technical requirements for medical surgical masks" ⬜ "Technical requirements for medical protective masks" ⬜ "Technical requirements for single-use medical protective clothing" ⬜ "Single-use tongue depressor" ⬜ 3、数据记录 3. Data recording 记录气相色谱仪软件CG-5显示的波峰值：C= ug/ml改为1）用分析/电子天平（设备编号： ）称取的样品重量： g。2）记录气相色谱仪（设备编号： ）软件CG-5显示的波峰值： ；根据标准曲线计算出样品相应的浓度ρ= ug/ml。 Record the peak value displayed by the chromatograph software CG-5: C = μg/ml changed to 1) Sample weight measured with analytical/electronic balance (Equipment No.: ): g. 2) Record the peak value displayed by the chromatograph (Equipment No.: ) software CG-5: ; calculate the corresponding sample concentration ρ = μg/ml according to the calibration curve. 4.结果计算增加环氧乙烷相对含量： CEO=5ρ/m= = μg/g 4. Result calculation Add the relative content of ethylene oxide: C_EO = 5ρ/m = = μg/g | 张阿园 Zhang Ayuan |  |