| 无菌检测原始记录 Sterility Test Original Record |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 试样名称 Sample Name |  |  |  |  |  |  |  |  | 规格型号 Specifications and Models |  |  |  |  |  |  |  |  |  | 样品数量 Number of Samples |  |  |  |  |  |  |  |  |
| 检验依据 Inspection Criteria |  |  |  |  |  |  |  |  | 生产批号 Production Batch Number |  |  |  |  |  |  |  |  |  | 灭菌批号 Sterilization Batch Number |  |  |  |  |  |  |  |  |
| 接种方式 Inoculation Method |  |  |  |  |  |  |  |  | 检验日期 Inspection Date |  |  |  |  |  |  |  |  |  | 报告日期 Report Date |  |  |  |  |  |  |  |  |
| 硫乙醇酸盐培养温度 Thiosulfate culture incubation temperature |  |  |  |  |  |  |  |  |  |  |  |  |  | 胰酪大豆胨培养温度 Trypticase soy broth incubation temperature |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 硫乙醇酸盐流体培养基批号 Thiosulfate broth batch number |  |  |  |  |  |  |  |  |  |  |  |  |  | 胰酪大豆胨液体培养基批号 Trypticase soy broth batch number |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 洁净工作台 Clean workbench 菌落数 Colony count （cfu/皿） (cfu/plate) |  | 培养皿号 Petri dish number |  |  |  |  |  |  | 1# |  |  |  |  |  |  | 2# |  |  |  |  |  |  | 3# |  |  |  |  |
|  |  | 48h菌落数 48h colony count |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 平均菌落数 Average colony count |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 供试品的无菌检测 Sterility testing of the test article |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 培养天数 Incubation Duration | 硫乙醇酸盐流体培养基（培养14天） Thiosulfate–ethanol–salt fluid medium (incubate 14 days) |  |  |  |  |  |  |  |  |  |  |  |  |  | 胰酪大豆胨液体培养基（培养14天） Tryptic soy broth liquid medium (incubated 14 days) |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 金黄色葡萄球菌 Staphylococcus aureus |  |  | 1# | 2# | 3# |  | 4# |  | 5# | 空白 Blank | 结果 Results |  |  | 白色念珠菌 Candida albicans |  | 1# | 2# |  | 3# |  | 4# |  | 5# |  | 空白 Blank | 结果 Results |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 结论： Conclusion: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 备注 Remarks |  |  | “+”表示长菌，“－”表示不长菌，“±”表示可疑长菌； “+” indicates growth, “－” indicates no growth, “±” indicates questionable growth; 若供试品的无菌检测中接种过菌液的应生长良好，空白试验和样品的检测应无菌生长，否则供试品的无菌检测不合格。 If the inoculated control in the sterility test of the sample has been inoculated with the microbial suspension, it should show good growth; the blank control and the sample test should show no microbial growth. Otherwise, the sample fails the sterility test. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

审核/日期Reviewed/Date：                                    检验员/日期Inspector/Date: