抽样计划

Sampling Plan

文件编号Document No.：AYD/QC-012

版    本Version：A0

编    写Prepared by：徐丽沙 Xu Lisha

审    核Reviewed by：

批    准Approved by：

生效日期Effective Date：

1. 目的
Purpose

指导检验员正确地按AQL抽样计划进行物料、半成品、成品的抽样检验，确保物料、成品检验的判定符合AQL标准之要求。
Guide inspectors to correctly perform sampling inspections of materials, semi-finished products, and finished products according to the AQL sampling plan, ensuring that the determination of materials and finished product inspections meets the requirements of AQL standards.

2. 范围
Scope

适用于本公司所有的进料、半成品、成品检验。
Applicable to all incoming materials, semi-finished products, and finished product inspections of the company.

3. 定义
Definitions

AQL：质量接收限。
AQL: Acceptable Quality Limit.

4. 工作程序
Work Procedures

4.1根据材料、半成品及成品缺点判定标准，依据检验规程实施。
Implement according to inspection procedures based on the defect classification criteria for materials, semi-finished products, and finished products.

4.2检验水平及AQL的选定
Selection of inspection level and AQL

4.3决定检验批大小：
Determine the lot size for inspection:

4.3.1来料时，本公司一般将相同时间进货，同一厂商，同一型号产品构成一检验批。
Upon receipt of materials, our company generally defines an inspection lot as products of the same model from the same supplier received at the same time.

4.3.2对于半成品、成品将同一批主要进货的材料（如用于医用外科口罩材料的熔喷布）定义为一批，要求按法规要求送检的产品也以此为批次抽成品送检，生产日期按实际发生情况作业。
For semi-finished and finished products, materials from the same primary purchase batch (for example, the melt-blown fabric used for medical surgical mask materials) are defined as one lot. Products that are required by regulations to be submitted for testing shall also be sampled from this lot for inspection. The production date shall be recorded according to the actual occurrence.

4.4样本量字码
Sample size code

4.5正常检验一次抽样方案
Normal inspection single-sampling plan